## R format Alle parametre
Sampling dato | TP (mg L) | SRP (mg L) | Klo a (µg L) | TN (mg L) | DIN?? (mg L) | CDOM | DOC | pH | TA | TN | Nox | NH4
2024-09-15 | 0.027942 | 0.0029986 | 8.4412 | 1.562 | 0.017
2024-09-30 | 0.041105 | 0.0013599 | 11.5108 | 1.328
Note on E1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dobbeltjekkes Birthe, for der lader til at være en enheds/faktor 1000 fejl…

## TP
Sampling dato | abs A | abs B | middel abs | µM/L | FF | mg TP L
2024-09-15 | 0.017 | 0.018 | 0.0175 | 0.90428 | 1 | 0.027942 | røg | d. 24 okt 24 | P std
2024-09-30 | 0.025 | 0.025 | 0.025 | 1.3303 | 1 | 0.041105 | røg |  | abs A | abs B | middel | konc. tjek
0 | 0.02 | 0.02 | 0.02 | 1.0463 | 1 | 0.03233 | skjold | 0 | 0.001 | 0 | 0.0005 | -0.061301
0 | 0.038 | 0.028 | 0.033 | 8.9233 | 5 | 0.27573 | bunds | 0.25 | 0.004 | 0.003 | 0.0035 | 0.1091
[8 empty] | 0.5 | 0.009 | 0.009 | 0.009 | 0.42149
[8 empty] | 1 | 0.018 | 0.018 | 0.018 | 0.93268
[8 empty] | 2 | 0.036 | 0.036 | 0.036 | 1.9551
[8 empty] | 3 | 0.055 | 0.055 | 0.055 | 3.0342
[8 empty] | 4 | 0.073 | 0.073 | 0.073 | 4.0566
[8 empty] | 5 | 0.092 | 0.092 | 0.092 | 5.1358
[8 empty] | 10 | 0.181 | 0.184 | 0.1825 | 10.2761
[8 empty] | 20 | 0.361 | 0.352 | 0.3565 | 20.159
[8 empty] | 25 | 0.434 | 0.44 | 0.437 | 24.7313
[9 empty] | a | Stigning | 0.017606
[9 empty] | b | Skæring | 0.0015793

## TN
Sampling dato | TN mgL (fra Birthe)
2024-09-15 | 21.78
2024-09-30 | 21.02

## DIN eller….
Sampling dato | DIN??? mgL (fra Birthe)
2024-09-15 | 0.017
2024-09-30

## SRP
Sampling dato | abs A | abs B | middel abs | µM/L | FF | mg SRP L
2024-09-15 | 0.005 | 0.004 | 0.0045 | 0.097042 | 1 | 0.0029986 | d. 24 okt 24 | P std
2024-09-30 | 0.003 | 0.004 | 0.0035 | 0.044011 | 1 | 0.0013599 |  | abs A | abs B | middel | konc. tjek
0 | [6 empty] | 0 | 0.001 | 0.001 | 0.001 | -0.088566
0 | [6 empty] | 0.25 | 0.005 | 0.005 | 0.005 | 0.12356
0 | [6 empty] | 0.5 | 0.01 | 0.011 | 0.0105 | 0.41523
0 | [6 empty] | 1 | 0.02 | 0.02 | 0.02 | 0.91902
0 | [6 empty] | 2 | 0.039 | 0.04 | 0.0395 | 1.9531
0 | [6 empty] | 3 | 0.06 | 0.06 | 0.06 | 3.0403
[7 empty] | 4 | 0.079 | 0.08 | 0.0795 | 4.0744
[7 empty] | 5 | 0.1 | 0.101 | 0.1005 | 5.188
[7 empty] | 10 | 0.196 | 0.196 | 0.196 | 10.2524
[7 empty] | 20 | 0.382 | 0.381 | 0.3815 | 20.0897
[7 empty] | 25 | 0.471 | 0.469 | 0.47 | 24.7829
[8 empty] | a | Stigning | 0.018857
[8 empty] | b | Skæring | 0.0026701

## Klo a
| Filter A | [5 empty] | Filter B | [5 empty] | Filter C
Sampling dato | Filter vol (L) | Etanol vol (ml) | abs 655 | abs 750 | Delta abs | µg/L | Filter vol (L) | Etanol vol (ml) | abs 655 | abs 750 | Delta abs | µg/L | Filter vol (L) | Etanol vol (ml) | abs 655 | abs 750 | Delta abs | µg/L | Middel µg L
2024-09-15 | 0.25 | 6 | 0.032 | 0.001 | 0.031 | 8.9209 | 0.25 | 6 | 0.03 | 0.001 | 0.029 | 8.3453 | 0.25 | 6 | 0.029 | 0.001 | 0.028 | 8.0576 | 8.4412
2024-09-30 | 0.1 | 6 | 0.017 | 0.001 | 0.016 | 11.5108 | [12 empty] | 11.5108
0 | [18 empty] | #DIV/0!
0 | [18 empty] | #DIV/0!
0 | [18 empty] | #DIV/0!
0 | [18 empty] | #DIV/0!
0 | [18 empty] | #DIV/0!
0 | [18 empty] | #DIV/0!